# General

## Commissioning

### It is the intent of the Owner to solicit proposals for Commissioning Consultant Services and Independent Commissioning Authority to meet Leadership in Energy and Environmental Design (LEED) Fundamental and Enhanced Commissioning requirements.

### Over and above LEED commissioning requirements, the Commissioning Authority is required to undertake commissioning in accordance with CSA Z320 – Building Commissioning for all systems including:

#### Electrical power and distribution.

#### Emergency power and distribution.

#### Transfer Switch operation.

#### Lighting levels.

#### Lighting control including daylight sensor calibration, occupancy sensor calibration and astronomical time clock settings and adjustments.

#### Clock System.

#### Functional testing of Security and Card Access Systems.

#### Testing of Surveillance System.

#### Sound Systems.

#### Integrated systems testing involving architectural, mechanical and electrical system coordination such as elevators, vertical conveyance, smoke control and extraction, door operation, security system overrides.

#### As a minimum, meet standard CAN/ULC-S1001, Integrated Systems Testing of Fire Protection and Life Safety Systems.

# Products

### Not Used

# Execution

### Not Used

END OF SECTION